INFORMATION ABOUT THE INFRASTRUCTURE IN MARIJAMPOLĖ FREE ECONOMIC ZONE

	Infrastructure
	Marijampolė Free Economic Zone

	
	Existing infrastructure
	Planned infrastructure

	Approaching roads, km
Among them:
	—
	2,62

	— of 10,5 m width
	—
	0,84

	— of 7,0 m width
	—
	1,78

	Length of electricity supply lines, km
	—
	9,53

	Allowed max. power of all the electric installations, MWh
	—
	21,00

	Allowed max. electricity power for usage at the moment, MWh
	—
	10,70

	Street lighting network, km
	—
	4,01

	Water supply network, km
	—
	4,99

	Sewerage network, km
	—
	4,05

	Rain water network, km
	—
	3,10

	Reconstruction of drainage network, km
	—
	2,76

	Heating network, km*
	—
	—

	Gas supply network, km
	—
	5,80

	Railroad line, km
	—
	borders FEZ 

	Telecommunication network, km
	—
	2,97


*Infrastructure could be planned in accordance with investors demand
